## CENTRE FOR BIOPROCESS
CENTRE FOR BIOPROCESS
S.No | Instruments | Location | Faculty incharge | Current working status (14,Nov,2013)
1 | Fplc | 112 | Vignesh Muthuvijayan | N
2 | Fluorescence microscope | 112 | Vignesh Muthuvijayan | Y
3 | Freezer upright - 86 | 112 | Vignesh Muthuvijayan | Y
4 | HPLC (Shimadzu) | 112 | Vignesh Muthuvijayan | Y
5 | YRS Bioanalytical system | 112 | Vignesh Muthuvijayan | Y
6 | Ice flaker | 112 | Vignesh Muthuvijayan | Y
7 | Microplate Reader | 112 | Vignesh Muthuvijayan | Y
8 | Gas chromotograph | 112 | Vignesh Muthuvijayan | Y
9 | RT PCR WITH LAPTOP | 6 | Vignesh Muthuvijayan | Y

## 2nd floor common
2nd floor COMMON EQUIPMENTS
S.No | Instruments | Location | Faculty incharge | Current working status (14,Nov,2013)
1 | FTIR + PC | 214 | Sathyanarayana N Gummadi | Y
2 | Cell disruptor | 214 | Sathyanarayana N Gummadi | Y
3 | Sonicator | 214 | Sathyanarayana N Gummadi | Y
4 | Jasco UV-spec | 214 | Sathyanarayana N Gummadi | Y
5 | Ultra sonic water bath | 214 | Sathyanarayana N Gummadi | Y
6 | Ice flaker | 214 | Sathyanarayana N Gummadi | Y

## 3rd floor common
3rd floor COMMON EQUIPMENTS
S.No | Instruments | Location | Faculty incharge | Current working status (14,Nov,2013)
1 | Deep freezer -80 deg | 312 | A Gopala Krishna | Y
2 | Beckman coulter ultra Centrifuge | 312 | A Gopala Krishna | N
3 | Biorad Gel doc | 312 | A Gopala Krishna | Y
4 | Ice flaker | 312 | A Gopala Krishna | Y
5 | Eppendorf centrifuge | 312 | A Gopala Krishna | Y
6 | Deep freezer – 40 Deg | 312 | A Gopala Krishna | Y
7 | Thermal cycler | 312 | A Gopala Krishna | N
8 | UV spec (Perklin elemer) | 312 | A Gopala Krishna | Y
9 | FPLC BIORAD | 312 | A Gopala Krishna | N
10 | Sonicator (Sonics vibra cell) | 312 | A Gopala Krishna | Y
11 | Weighing Balance (sartorius) | 312 | A Gopala Krishna | Y
12 | Lyophilizer (virtis) | 312 | A Gopala Krishna | Y
13 | Pekin Elemer spectrofluorometer | 312 | A Gopala Krishna | Y

## 4th floor common
4th floor COMMON EQUIPMENTS
S.No | Instruments | Location | Faculty incharge | Current working status (14,Nov,2013)
1 | Eppendorf master cycler(PCR) | 412 | D Karunagaran | Y
2 | Biorad gel doc imaging system | 412 | D Karunagaran | Y
3 | Biorad smart spec | 412 | D Karunagaran | N
4 | Millipore water purification system | 412 | D Karunagaran | N
5 | Eppendorf centrifuge | 412 | D Karunagaran | Y
6 | Simag Ice flaker | 412 | D Karunagaran | Y

## 5th floor
5th floor COMMON EQUIPMENTS
S.No | Instruments | Location | Faculty incharge | Current working status (14,Nov,2013)
1 | Olympus FLUROSCENCE MICROSCOPE | 512 | Madhulika Dixit | Y
2 | Biorad gel doc imaging system | 512 | Madhulika Dixit | N
3 | Biorad smart spec | 512 | Madhulika Dixit | N
4 | Eppendorf Cooling Centrifuge | 512 | Madhulika Dixit | Y
| HPLC |  | Smita Srivastava | Y

## UG LAB
UG LAB
S.No | Instruments | Location | Faculty incharge
1 | autoclave air life fermentor | 115 | Vignesh Muthuvijayan
2 | orbital shaker (Mini) | 115 | Vignesh Muthuvijayan
3 | sonicator | 115 | Vignesh Muthuvijayan
4 | autoclaveable fermentor | 115 | Vignesh Muthuvijayan
5 | uv vis spectrophotometer | 115 | Vignesh Muthuvijayan
6 | cooling centrifudge | 115 | Vignesh Muthuvijayan
7 | electroporator | 118 | Vignesh Muthuvijayan
8 | millipore water purification system | 118 | Vignesh Muthuvijayan
9 | cooling centrifudge | 118 | Vignesh Muthuvijayan
10 | PCR (Conventional) | 118 | Vignesh Muthuvijayan
11 | Inverted Microscope (Olympus) | 118 | Vignesh Muthuvijayan

## sophisticated
SOPHISTICATED INSTRUMENTS
S.No | Instruments | Location | Faculty incharge | Column1
1 | LC-MS | 015 | V Kesavan/R Murugan
2 | X ray Diffractometer | 015 | N Manoj/A Chadha
3 | FACS | 417 | D Karunagaran/S Mahalingam
4 | SPR | 417 | M Dixit/SK Rayala
5 | DSC | 317 | A Gopalakrishna/N Manoj
6 | CD | 317 | A Gopalakrishna/N Manoj
7 | ITC | 317 | A Gopalakrishna/N Manoj | Expected by Jun 2014
8 | Electro-spin & Microtome | 219 | RSVerma/Mukesh | Expected by Mar2014
9 | BD Accuri | 219 | RSVerma/M Dixit | Expected by Mar2014
10 | RTPCR | 219 | RSVerma/M Dixit | Expected by May 2014
11 | Western Blot | 219 | RSVerma/M Dixit | Expected by May 2014